## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2003 | Lodging | 1100221 | 109026 | LOCHLOOSA HARBOR | LOCHLOOSA HARBOR FISHING RESORT FUREY CORPORATION | 15008 SE US HWY 301 , HAWTHORNE 32640 | 1640255 | 11/20/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher between unit 5 and 6 in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505885 | 111336 | COCOA GRAND | COCOA GRAND LLC | 305 LAREDO DR , COCOA 32926 | 1627350 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble warning light flashing on panel in building 534 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505378 | 3177 | COCOA BEACH HOTEL | BAUGHER HOTEL GROUP INC | 3655 N ATLANTIC AVE , COCOA BCH 32931 | 1185277 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Removed from wall in 204 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1501129 | 15459 | ECONOLODGE COCOA BEACH | COCOA BEACH CAPITAL GROUP LLC | 3185 NORTH ATLAMTIC AVENUE , COCOA BEACH 32931 | 1243657 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621085 | 98860 | AMLI TOSCANA PLACE | PPF AMLI 5971 TOSCANA DRIVE LP | 5971 TOSCANA DR , DAVIE 33314 | 1645798 | 11/20/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Unit 1513 Unit 535 Outside the men's bathroom at the pool **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621085 | 98860 | AMLI TOSCANA PLACE | PPF AMLI 5971 TOSCANA DRIVE LP | 5971 TOSCANA DR , DAVIE 33314 | 1645798 | 11/20/2025 | Complaint Full | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Unit 312 and 313 **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1613418 | 7657 | GALLERYONE - A DOUBLETREE SUITES BY HILTON HOTELS | DEJ HOTELS LLC | 2670 E SUNRISE BLVD , FORT LAUDERDALE 33304 | 1188542 | 11/17/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel- by check in desk. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620849 | 6251 | RITZ CARLTON FT LAUDERDALE | RITZ CARLTON COMPANY LLC | 1 N FT LAUDERDALE BEACH BLVD , FORT LAUDERDALE 33304 | 1184577 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | One Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620849 | 6251 | RITZ CARLTON FT LAUDERDALE | RITZ CARLTON COMPANY LLC | 1 N FT LAUDERDALE BEACH BLVD , FORT LAUDERDALE 33304 | 1184577 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | One boiler certificate or insurance inspector's boiler report not available, new boiler installed. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1188164 | 11/17/2025 | Complaint Full | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-11-05: Observed at callback no boiler certification provided **Time Extended** - From follow-up inspection 2025-11-06: Observed at callback same **Time Extended** - From follow-up inspection 2025-11-10: Observed at callback same **Time Extended** - From follow-up inspection 2025-11-17: Observed at callback same **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2100459 | 8315 | RED ROOF FLUS +& SUITES | BW RRI III LLC | 1925 DAVIS BLVD , NAPLES 34104 | 1185661 | 11/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. This is a repeat violation from the previous inspection dated 04-16-2025 **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330054 | 101677 | IBERIA APTS LLC | IBERIA APTS LLC | 629 SW 2 ST , MIAMI 33130 | 1627407 | 11/20/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light illuminated on fire panel at the root of the building. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2319933 | 7488 | EMBASSY SUITES HOTEL MIAMI AIRPORT | DJONT/JPM HOSPITALITY LEASING (SPE) LLC | 3974 NW SOUTH RIVER DR , MIAMI 33142 | 1185095 | 11/14/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331413 | 120028 | ALBEVALA 629 LLC | ALBEVALA 629 LLC | 629 SW 10 ST. , MIAMI 33130 | 1645716 | 11/17/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed next to unit 2 at first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328377 | 56658 | WEST BRICKELL APARTMENTS | WEST BRICKELL APTS LTD | 955 SW 2 AVE , MIAMI 33130 | 1636030 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher next to unit 1509 in the overcharge zone. Observed fire extinguisher next to unit 401 in the overcharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329481 | 93588 | WEST BRICKELL TOWER APARTMENTS | WEST BRICKELL TOWER LTD | 1026 SW 2 AVE , MIAMI 33130 | 1634809 | 11/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher on second floor next stairwell 2 in the over charge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312695 | 54986 | 843 LAM APTS | LAM APT INC | 843 SW 3 ST , MIAMI 02218 | 1636900 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher next to unit 2 in the recharge zone at first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328377 | 56658 | WEST BRICKELL APARTMENTS | WEST BRICKELL APTS LTD | 955 SW 2 AVE , MIAMI 33130 | 1636030 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher next to unit 1201 in the recharge zone. Observed fire extinguisher next to unit 309 in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330084 | 101676 | FCD GROUP LLC | FCD GROUP LLC | 561 SW 2 ST , MIAMI 33130 | 1624671 | 11/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher in need of recharge near electrical room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329481 | 93588 | WEST BRICKELL TOWER APARTMENTS | WEST BRICKELL TOWER LTD | 1026 SW 2 AVE , MIAMI 33130 | 1634809 | 11/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher locked in box with no means of accessing them. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329203 | 106082 | 420 NW 10TH ST LLC | 420 NW 10TH ST LLC | 420 NW 10 ST , MIAMI 33136 | 1637703 | 11/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330483 | 107289 | EMILY INVESTMENTS | EMILY INVESTMENTS SVCS LLC | 435 SW 9 AVE , HOMESTEAD 33030 | 1644617 | 11/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no broken device at fire extinguisher between unit 103 and 104. Observed no braking device at fire extinguisher near unit 102. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331046 | 115615 | SABUGO INVESTMENTS INC | SABUGO INVESTMENTS INC | 660 SW 2 ST , MIAMI 33130 | 1643707 | 11/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher at fire extinguisher next to unit 2 at ground floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328155 | 5181 | CRESCENT RESORT ON SOUTH BEACH | ISLAND ONE RESORTS MANAGEMENT CORP | 1420 OCEAN DR , MIAMI BEACH 33139 | 1183908 | 11/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329049 | 6983 | HOTEL VICTOR | 1144 OD LLC | 1144 OCEAN DR , MIAMI BEACH 33139 | 1184091 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329384 | 8873 | HYATT CENTRIC BRICKELL | CONCORD AZTEC BRICKELL LLC | 1102 BRICKELL BAY DR , MIAMI 33131 | 1187262 | 11/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330208 | 103495 | 995 W 74TH | 130 W 26TH STREET LLC | 995 W 74TH ST , HIALEAH 33014 | 1641325 | 11/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330365 | 105477 | CAOBA MIAMI WORLDCENTER | BLOCK G PHASE 1 LLC | 698 NE 1 AVE , MIAMI 33132 | 1633270 | 11/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329877 | 106365 | LABRE PLACE INC | LABRE PLACE INC | 350 NW 4 ST , MIAMI 33128 | 1628510 | 11/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331345 | 119974 | SOUTHPOINTE VISTA I | MHP FL I, LLC | 21250 SW 117TH AVE , MIAMI 33177 | 1645616 | 11/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330419 | 106389 | PRESTIGE VILLAGE | 13055 NE 6 AVE PRESTIGE VILLAGE LLC | 13055 NE 6 AVE , NORTH MIAMI 33161 | 1641987 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300899 | 93658 | 1948 BLDG LLC | 1948 BLDG LLC | 1948 NW 2 CT , MIAMI 33136 | 1636799 | 11/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. Furniture and shares plants. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329203 | 106082 | 420 NW 10TH ST LLC | 420 NW 10TH ST LLC | 420 NW 10 ST , MIAMI 33136 | 1637703 | 11/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. Observed chairs furniture on hallway first and second floor. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613582 | 116791 | AVIA LOFTS ON LIBERTY RIDGE | AVIA JAX LIBERTY RIDGE LLC | 8365 DIX ELLIS TRAIL , JACKSONVILLE 32256 | 1639267 | 11/18/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Missing hammer at fire extinguisher located on buildings 6,9,10,11,12,13, 14. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2600296 | 17771 | MIDTOWN LODGE | JAI SHREE LAXMI KUBER LLC | 4141 PHILLIPS HWY , JACKSONVILLE 32207 | 1241722 | 11/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. The one in laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613257 | 103078 | STOVALL AT RIVER CITY | BREIT OLYMPUS MF STOVALL LLC | 13000 BROXTON BAY DR , JACKSONVILLE 32218 | 1643301 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. At building 3, fire extinguisher between apartments 301 and 308 has needle in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200090 | 9437 | LITTLE BIG MAN MARINA | CLARK LEON J | 3100 CR 721 LOOP , LAKEPORT 33471 | 1242430 | 11/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from its designated location (sign present indicating designated location) at unit three. For reporting purposes only. Operator placed at location. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913577 | 8918 | EXTENDED STAY AMERICA #1805 | ESA P PORTFOLIO OPERATING LESSEE LLC | 4312 W SPRUCE ST , TAMPA 33607 | 1184120 | 11/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4605296 | 8961 | HYATT REGENCY COCONUT POINT RESORT | HST HRCP LLC | 5001 COCONUT RD , BONITA SPRINGS 34134 | 1186284 | 11/18/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. All boiler certificates expired 7/10/2025. - From follow-up inspection 2025-11-18: Boiler reports expired. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Madison | 2001 | Lodging | 5000133 | 10690 | BEST WESTERN PLUS MADISON INN | MADISON FLORIDA MANAGEMENT LLC | 167 SE BANDIT ST , MADISON 32340 | 1185162 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Wiring damage to front sign. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5401941 | 18195 | BAYSIDE INN KEY LARGO | SDFL ASSOCIATES LLC | 99490 OVERSEAS HWY , KEY LARGO 33037 | 1242053 | 11/20/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed hearing-impaired smoke alarms not functioning when tested. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500968 | 10087 | COURTYARD AMELIA ISLAND | INNISFREE HOTELS, INC. | 2700 ATLANTIC AVE STE 1 , AMELIA ISLAND 32034 | 1183963 | 11/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificates displayed in boiler room expired. General manager stated the inspection was already preformed but they received the wrong certificate in the mail so they are working to get correct ones. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811216 | 10481 | LAQUINTA INN ORLANDO AIRPORT WEST | CAVALIER FLORIDA LP | 7931 DAETWYLER DR , ORLANDO 32812 | 1188543 | 11/20/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5801635 | 16127 | VACATION LODGE | LUTFI INVESTMENT COMPANY INC | 720 S ORANGE BLOSSOM TRL , ORLANDO 53144 | 1245435 | 11/17/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5801635 | 16127 | VACATION LODGE | LUTFI INVESTMENT COMPANY INC | 720 S ORANGE BLOSSOM TRL , ORLANDO 53144 | 1245435 | 11/17/2025 | Complaint Full | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188347 | 11/19/2025 | Complaint Full | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. 1FL room 111 - From follow-up inspection 2025-11-19: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188347 | 11/19/2025 | Complaint Full | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL135771, FL135772 expired 10/10/25 - From follow-up inspection 2025-11-19: Operator stated inspection on 11/25 **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912068 | 9318 | MM LAKE HOTEL LLC | MM LAKE HOTEL LLC | 4944 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1188573 | 11/19/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Per operator, they have an inspection pending for new boiler. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912072 | 11473 | HOLIDAY INN RESORT KISSIMMEE BY THE PARKS | HH MAINGATE HOTELS LLC | 3011 MAINGATE LN , KISSIMMEE 34747 | 1184721 | 11/21/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. - From follow-up inspection 2025-11-21: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6012369 | 4288 | TOWNEPLACE SUITES | BOCA RATON WEST HOSPITALITY CORP | 5110 NW 8 AVE , BOCA RATON 33487 | 1186713 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6012372 | 4289 | SPRINGHILL SUITES | BOCA RATON EAST HOSPITALITY CORP | 5130 NW 8 AVE , BOCA RATON 33487 | 1186738 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209245 | 108374 | MELROSE ON THE BAY (M-O) OWNER LLC | MELROSE ON THE BAY (M-O) OWNER LLC | 16321 BOLESTA RD , CLEARWATER 33760 | 1645822 | 11/18/2025 | Complaint Full | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Building 5056 near unit 137 serial number F57935573. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904098 | 118098 | STORY SANFORD | RINEHART ROAD OWNER LLC | 4564 FOXTAIL FERN WAY , SANFORD 32771 | 1633217 | 11/20/2025 | Routine - Lodging | Warning Issued | 02-04-4 | Propane (LP gas) tanks having a water capacity greater than 2.7 lbs. and gas powered blower stored inside the maintenance building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904077 | 111725 | GEORGETOWN SQUARE | REDDING DEVELOPMENT PARTNERS LLC | 400 S LOCUST AVE , SANFORD 32771 | 1634872 | 11/18/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Warning** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1242175 | 11/19/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-10-13: **Time Extended** - From follow-up inspection 2025-11-19: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1245350 | 11/19/2025 | Complaint Full | Call Back - Admin. complaint recommended | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. In room 220 **Warning** - From follow-up inspection 2025-11-19: **Time Extended** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1245350 | 11/19/2025 | Complaint Full | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** **Warning** - From follow-up inspection 2025-11-19: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401748 | 111861 | 12TH AND BEACH APARTMENTS | BAY APTS LLC | 1229 S BEACH ST , DAYTONA BEACH 32114 | 1645306 | 11/17/2025 | Complaint Full | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -breaking device missing,second laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401634 | 18380 | DAYS INN | STARR HOSPITALITY LLC | 1608 N US HWY 1 , ORMOND BEACH 32174 | 1245445 | 11/18/2025 | Complaint Full | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. -smoke detector not installed in room 124. **Repeat Violation** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401748 | 111861 | 12TH AND BEACH APARTMENTS | BAY APTS LLC | 1229 S BEACH ST , DAYTONA BEACH 32114 | 1645306 | 11/17/2025 | Complaint Full | Warning Issued | 11-02-4 | Gas appliance vent stack disconnected/in disrepair. For reporting purposes only. -vent stack not properly attached at water in laundry by office **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7400062 | 10845 | LEGACY DAYTONA SUITES | KBI INVESTMENTS LLC | 209 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1185731 | 11/19/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble light and general alarm light on | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405884 | 15568 | HOST INN | KRISHNA OF DAYTONA INC | 315 BELLEVUE AVE , DAYTONA BEACH 32114 | 1243324 | 11/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. -in storage room per manager states it's empty | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405884 | 15568 | HOST INN | KRISHNA OF DAYTONA INC | 315 BELLEVUE AVE , DAYTONA BEACH 32114 | 1243324 | 11/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-07-4 | Flammable chemicals stored near a source of ignition. For reporting purposes only. -Laundry room -linen next to water heater | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405449 | 11957 | ROYAL INN OF RIDGEWOOD | YOGESHWAR INC OF DAYTONA | 810 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1243606 | 11/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -exit light hanging from wires by 229 **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.