## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2001 | Lodging | 1305245 | 9601 | TOWNEPLACE SUITES BY MARRIOTT | PIER PARK TPS LLC | 16000 PANAMA CITY BEACH PKWY , PANAMA CITY BEACH 32413 | 1184856 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed water heaters with 751,000 input BTU. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1305101 | 13811 | RADISSON PANAMA CITY BEACH | BY THE SEA RESORTS INC | 15325 FRONT BEACH RD , PANAMA CITY BCH 32413 | 1243735 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505378 | 3177 | COCOA BEACH HOTEL | BAUGHER HOTEL GROUP INC | 3655 N ATLANTIC AVE , COCOA BCH 32931 | 1185277 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Removed from wall in 204 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1501129 | 15459 | ECONOLODGE COCOA BEACH | COCOA BEACH CAPITAL GROUP LLC | 3185 NORTH ATLAMTIC AVENUE , COCOA BEACH 32931 | 1243657 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1601248 | 18827 | 213 S OCEAN BLVD LLC | 213 S OCEAN BLVD LLC | 213 S OCEAN BLVD , POMPANO BEACH 33062 | 1242797 | 11/24/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. **Warning** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1613206 | 10278 | BEST WESTERN FT. LAUDERDALE I-95 | BAYMEADOWS HOTEL LLC | 4800 POWERLINE ROAD , FORT LAUDERDALE 33309 | 1184107 | 11/24/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. End of hallway by room 118 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1601248 | 18827 | 213 S OCEAN BLVD LLC | 213 S OCEAN BLVD LLC | 213 S OCEAN BLVD , POMPANO BEACH 33062 | 1242797 | 11/24/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed guage on fire extinguisher in recharge zone next to room 16 . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1604111 | 8717 | TRAVELODGE | ROSHNI INVESTMENTS INC | 1251 E SUNRISE BLVD , FORT LAUDERDALE 42810 | 1243890 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Between rooms 112 and 114. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619289 | 8880 | EXTENDED STAY AMERICA SUITES #1563 | ESA P PORTFOLIO OPERATING LESSEE LLC | 6001 NW 6 WAY , FORT LAUDERDALE 33309 | 1184099 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1612520 | 11054 | SHERATON SUITES CYPRESS CREEK | ROYAL OAKS HOSPITALITY LLC | 555 NW 62 ST , FORT LAUDERDALE 33309 | 1184517 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620275 | 10566 | COURTYARD BY MARRIOTT WESTON | ASHFORD TRS POOL C1 LLC | 2000 N COMMERCE PKWY , WESTON 33326 | 1186277 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. -Observed an electrical box cover missing outside next to AC machine. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619392 | 10928 | COURTYARD BY MARRIOTT CORAL SPRINGS | CORAL SPRINGS HOSPITALITY LLC | 620 N. UNIVERSITY DRIVE , CORAL SPRINGS 33071 | 1187095 | 11/25/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. 3rd floor next to room 305 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619392 | 10928 | COURTYARD BY MARRIOTT CORAL SPRINGS | CORAL SPRINGS HOSPITALITY LLC | 620 N. UNIVERSITY DRIVE , CORAL SPRINGS 33071 | 1187095 | 11/25/2025 | Routine - Lodging | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 11/11/24. Establishment's GM explained they are already in the process of getting their boiler reinspected **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Columbia | 2003 | Lodging | 2200247 | 50072 | LAKE CITY VILLAS APARTMENTS | LAKE CITY VILLAS RRH LTD | 1344 SW ZESTY CIRCLE , LAKE CITY 32025 | 1637442 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Exposed wires in opened electrical box on the side of 2-106. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329487 | 10114 | ROAMI AT THE CARMELA | ILDAR VENTURES LLC | 4025 INDIAN CREEK DR , MIAMI BEACH 33140 | 1184024 | 11/24/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the lobby panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2325175 | 11276 | HOTEL OCEAN BY LUXURI | LUXURI LEASES LLC | 1236 OCEAN DR , MIAMI BEACH 33139 | 1185516 | 11/24/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328478 | 86867 | POAH CUTLER MEADOWS LLC | POAH CUTLER MEADOWS LLC | 11100 SW 196 ST , MIAMI 78346 | 1631260 | 11/25/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329487 | 10114 | ROAMI AT THE CARMELA | ILDAR VENTURES LLC | 4025 INDIAN CREEK DR , MIAMI BEACH 33140 | 1184024 | 11/24/2025 | Routine - Lodging | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. From lobby panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1245483 | 11/24/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329757 | 95908 | ATLANTIC DORAL | DORAL GRANDE RESIDENCES LTD | 10500 NW 74 ST , DORAL 33178 | 1642704 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher in the overcharge zone at garage next to unit 17 across from building 10460. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2315545 | 89976 | 1118 MULTIFAMILY LLC | 1118 MULTIFAMILY LLC | 1118 SW 6 ST , MIAMI 33130 | 1643598 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher on east side stairwell in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329399 | 9173 | DESIGN SUITES MIAMI BEACH | DESIGN SUITES MIAMI INC | 5445 COLLINS AVE STE CU14 , MIAMI BEACH 33140 | 1185403 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Missing breaking device on multiple fire extinguishers , lower lobby, 14. Floor, etc | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329404 | 9241 | GIUEDO REALTY LLC | GIUEDO REALTY LLC | 1311 W AVE , MIAMI BEACH 33139 | 1184506 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed breaking utensil missing for fire extinguisher near room 104. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302035 | 50933 | 810 APARTMENTS | BALEPOGI GEORGE & AIDA | 810 SW 3 ST , MIAMI 02245 | 1638098 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher next to unit 7 at second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304970 | 52065 | IMPERIAL APTS | PRESTIGE BLDG CORP | 9100 SW 77 AVENUE , MIAMI 67638 | 1642948 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; laundry room building 7790. Observed no hammer; 7760 Laundry room. Observed locked extinguisher; B 9110. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2313084 | 99740 | VICTORES RENTAL | VICTORES JESUS | 537 SW 3 ST , MIAMI 33130 | 1634662 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher next to unit 2 and 5. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329016 | 5093 | COURTYARD MIAMI DADELAND | DC HOTELS LLC | 9075 S DADELAND BLVD , KENDALL 33156 | 1186434 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed troubleshoot at alarm in lobby. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329374 | 8665 | TOWNEPLACE SUITES MIAMI AIRPORT | HOTELEX AIRPORT LLC | 4021 NW 11TH ST , MIAMI 33126 | 1186431 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329511 | 10839 | STRAND OCEAN DRIVE SUITES | STRAND OCEAN DRIVE SUITES | 1052 OCEAN DRIVE , MIAMI BEACH 33139 | 1187946 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light illuminated on fire panel located at front desk area. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329757 | 95908 | ATLANTIC DORAL | DORAL GRANDE RESIDENCES LTD | 10500 NW 74 ST , DORAL 33178 | 1642704 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed fire panel with blinking trouble light at building 10460. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329145 | 113866 | 1560 NW 119TH STREET (FL) OWNER, LLC | 1560 NW 119TH STREET (FL) OWNER, LLC | 1560 NW 119 ST , MIAMI 73118 | 1642065 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. First floor, building 1528 by 103. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329482 | 10219 | SEASTAYS | MYCITY INC | 5445 COLLINS AVENUE CU 9 , MIAMI BEACH 33140 | 1188300 | 11/24/2025 | Complaint Full | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device for extinguisher located next to suite 20. Extinguishers belong to Condo Association where the hotel is. **Repeat Violation** - From follow-up inspection 2025-11-24: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100229 | 17094 | PRESTIGE HOTEL VERO BEACH | PRESTIGE HOTEL VERO BEACH LLC | 1526 OCEAN DR , VERO BEACH 32963 | 1243823 | 11/24/2025 | Routine - Lodging | Call Back - Complied | 02-08-4 | - From initial inspection : Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Gas tank stored under exterior stair well closest to lobby - From follow-up inspection 2025-11-24: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2003 | Lodging | 5403230 | 101641 | CAYA PLACE | KEYS AFFORDABLE DEVELOPMENT II LLC | 751 73 ST OCEAN , MARATHON 33050 | 1630220 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. " Elevator room heat " | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2003 | Lodging | 5403230 | 101641 | CAYA PLACE | KEYS AFFORDABLE DEVELOPMENT II LLC | 751 73 ST OCEAN , MARATHON 33050 | 1630220 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. In fire panel room | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okeechobee | 2002 | Lodging | 5700590 | 10411 | BEST WESTERN LAKE OKEECHOBEE | LUV KUSH ENTERPRISES LLC | 3975 S HWY 441 , OKEECHOBEE 46221 | 1241683 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188625 | 11/25/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. FL1 room 111 on panel **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188625 | 11/25/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL135771, FL135772 expired 10/10/25 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5807202 | 114878 | WATAUGA WOODS APARTMENTS | WATAUGA AFFORDABLE LLC | 1637 WATAUGA AVE , ORLANDO 32812 | 1642301 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912072 | 11473 | HOLIDAY INN RESORT KISSIMMEE BY THE PARKS | HH MAINGATE HOTELS LLC | 3011 MAINGATE LN , KISSIMMEE 34747 | 1184721 | 11/21/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. - From follow-up inspection 2025-11-21: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6004110 | 16510 | 88 PALMS HOTEL AND EVENT CENTER | 1031 S WOOSTER LTD, A CALIFORNIA LIMITED PARTNERSHIP | 1901 PALM BEACH LAKES BLVD. , WEST PALM BEACH 33409 | 1243066 | 11/24/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 134509 06/27/2025, 111423 06/27/2025, | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6005777 | 16217 | LAGO MOTOR INN | BARON RICHARD | 714 S DIXIE HWY , LAKE WORTH 33460 | 1244460 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6012369 | 4288 | TOWNEPLACE SUITES | BOCA RATON WEST HOSPITALITY CORP | 5110 NW 8 AVE , BOCA RATON 33487 | 1186713 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6012372 | 4289 | SPRINGHILL SUITES | BOCA RATON EAST HOSPITALITY CORP | 5130 NW 8 AVE , BOCA RATON 33487 | 1186738 | 11/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6000225 | 15152 | TREETOPS MOTEL | SAI AKSHAR INC | 5475 LAKE WORTH RD , LAKE WORTH 33463 | 1244483 | 11/25/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher first floor in front of unit 211 in overcharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6209700 | 17768 | SURE STAY BY BEST WESTERN | SASHA CLEARWATER LLC | 3655 HOSPITALITY LN , CLEARWATER 33762 | 1242679 | 11/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Exp 2017 - observed in boiler room Per fire marshal website- last inspection 8-5-2026 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1245350 | 11/24/2025 | Complaint Full | Call Back - Extension given, pending | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** **Warning** - From follow-up inspection 2025-11-19: **Time Extended** - From follow-up inspection 2025-11-24: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403098 | 100943 | PARK AT COUNTRYSIDE | PAC INVESTORS LLC | 958 VILLAGE TRAIL , PORT ORANGE 32127 | 1637899 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -inside laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406500 | 8224 | HAMPTON INN NSB | KEY NEW SMYRNA LLC | 214 FLAGLER AVE , NEW SMYRNA BEACH 32169 | 1186347 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406510 | 8858 | FAIRFIELD INN & SUITES DAYTONA BEACH SPEEDWAY/AIRPORT | DAYTONA HOTEL TWO LLC | 1820 CHECKERED FLAG BLVD , DAYTONA BEACH 32114 | 1185289 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406510 | 8858 | FAIRFIELD INN & SUITES DAYTONA BEACH SPEEDWAY/AIRPORT | DAYTONA HOTEL TWO LLC | 1820 CHECKERED FLAG BLVD , DAYTONA BEACH 32114 | 1185289 | 11/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.