## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2001 | Lodging | 1102962 | 10687 | AC HOTEL BY MARRIOTT GAINESVILLE | NF V GAINESVILLE OPCO LLC | 151 NW 14 ST , GAINESVILLE 32603 | 1186927 | 12/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed : the Fire Alarm digital display at the front desk indicates trouble alerts. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621258 | 110530 | CLUB AT EMERALD WATERS | EMERALD HOLLYWOOD OWNER LLC | 4000 N 56 AVE , HOLLYWOOD 33021 | 1645900 | 12/01/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at 2nd floor west staircase 3920 building, 1st floor east staircase 3920 building | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1620860 | 15667 | HOLLYWOOD ALL SUITE | HOLLYWOOD ALL SUITE LLC | 334 ARIZONA ST , HOLLYWOOD 33019 | 1242338 | 12/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. It doesn't make sound. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2005 | Lodging | 1620708 | 1512 | HOLLYWOOD BEACH SUITES HOTEL AND HOTEL | HOLLYWOOD ALL SUITE, LLC | 316 ARIZONA ST , HOLLYWOOD 33019 | 1096988 | 12/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. It doesn't make sound. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328115 | 113379 | DORAL TERRACE | 10825 NW 50 STREET FL OWNER LLC | 10825 NW 50 ST , DORAL 33178 | 1626787 | 12/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher on first floor of building 10801 near unit 101 next to the stairs in the overcharged zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2314576 | 9159 | COUNTRY LODGE | KOMAL INC | 651 N KROME AVE , FLORIDA CITY 43419 | 1243709 | 12/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed fire extinguisher missing between unit 138 and 137. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2305794 | 116243 | 1236 MARSIELLE DRIVE | 1236 MARSEILLE DRIVE LLC | 1236 MARSEILLE DR , MIAMI BEACH 33141 | 1631040 | 12/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311339 | 19431 | ECONO LODGE INN & SUITES | SA NORTH AMERICAN HOLDINGS LLC | 1223 NE 1ST AVENUE , FLORIDA CITY 33034 | 1243247 | 12/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device at fire extinguisher between unit 111 and 112. Observed no breaking device at fire extinguisher between unit 105 and 106. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328284 | 92590 | SABUGO INVESTMENTS | SABUGO INVESTMENTS INC | 1360 SW 3 ST , MIAMI 33130 | 1634939 | 12/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at both first and second floor extinguishers. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331327 | 118914 | BYRON INVESTORS | BYRON INVESTORS LLC | 6966 BYRON AVE , MIAMI BEACH 33141 | 1634523 | 12/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher near unit 104 missing breaking utensil. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2306670 | 3510 | SURFCOMBER HOTEL (THE) | CHISHOLM PROP S BCH INC | 1717 COLLINS AVE , MIAMI BEACH 92081 | 1186390 | 12/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329296 | 11415 | ANDAZ MIAMI BEACH HOTEL | GOLDEN PALMS LESSEE INC | 4041 COLLINS AVE , MIAMI BEACH 33140 | 1187827 | 12/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301611 | 97414 | MERDA DO MONE APTS | RODRIGUEZ CARLOS A & RUBALCABAL LUIS | 1552 SW 2 ST , MIAMI 33135 | 1635658 | 12/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the First floor . **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310182 | 76796 | YELLOW KING APARTMENTS | YELLOW KING APARTMENTS LLC | 12890 NE 6 AVE , NORTH MIAMI 33161 | 1635765 | 12/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329316 | 10661 | HILTON GARDEN INN MIAMI SOUTH BEACH | TMGOC MIA 2940 COLLINS LLC | 2940 COLLINS AVE , MIAMI BEACH 33140 | 1184332 | 12/03/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at lobby panel. **Repeat Violation** - From follow-up inspection 2025-12-03: Observed alarm company working on site. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200011 | 9434 | ANGLER'S WATERFRONT MOTEL | CHILLEN MICHAEL | 1010 6 ST RT-4 , OKEECHOBEE 49206 | 1241876 | 12/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Located at back of building at unit nine. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3901756 | 15902 | TAMPA MOTEL | PATEL SUNIL B | 3110 W HILLSBOROUGH AVE , TAMPA 33614 | 1242157 | 12/04/2025 | Routine - Lodging | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. No smoke detector in room 116, 108, and 109. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202445 | 7746 | MICROTEL INN & SUITES | FLORIDA INVESTMENT PARTNERS GROUP LLC | 1770 SW 134 ST , OCALA 34473 | 1185869 | 12/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to exit door in back of lobby. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403210 | 9284 | ISLA BELLA BEACH RESORT | KNIGHT'S KEY INVESTORS LLC | 1 KNIGHTS KEY BLVD , MARATHON 33050 | 1188660 | 12/02/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. At the lobby | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5400573 | 10183 | AMARA CAY RESORT | AMARA CAY RESORT LLC | 80001 OVERSEAS HGWY , ISLAMORADA 33036 | 1188692 | 12/02/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5401941 | 18195 | BAYSIDE INN KEY LARGO | SDFL ASSOCIATES LLC | 99490 OVERSEAS HWY , KEY LARGO 33037 | 1242053 | 12/02/2025 | Routine - Lodging | Call Back - Complied | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed hearing-impaired smoke alarms not functioning when tested. - From follow-up inspection 2025-12-02: Did not observed hearing impaired smoke alarms. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500959 | 10755 | SURF & SAND | 2801 ATLANTIC HOSPITALITY LLC | 2801 ATLANTIC AVE , FERNANDINA BEACH 32034 | 1185071 | 12/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. On fire panel behind front desk orange trouble light on. "Trouble smoke 3rd floor" is message on screen. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5908012 | 10641 | ALL STAR MOVIES | WALT DISNEY PARKS AND RESORTS US INC | 1901 W BUENA VISTA DR , LAKE BUENA VISTA 32830 | 1245646 | 12/02/2025 | Complaint Partial | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificates expired in building #2 Refer to inspection. Engineering notify at time of inspection **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2001 | Lodging | 6102919 | 9476 | FAIRFIELD INN & SUITES HOLIDAY TARPON SPRINGS | GOLDEN HOTELS GROUP LLC | 3060 US HWY 19 , HOLIDAY 34691 | 1185582 | 12/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2001 | Lodging | 6102930 | 10860 | COMFORT INN & SUITES | NEW PORT RICHEY HOTEL GROUP LLC | 6206 US HWY 19 , NEW PORT RICHEY 34652 | 1185153 | 12/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Impaired smoke detector not working in bathroom of 410 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215825 | 9737 | GULF STRAND RESORT | GULF STRAND RESORT | 4510 GULF BOULEVARD , ST PETE BEACH 33706 | 1185231 | 12/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in between rooms 307 and 308 in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6202174 | 17361 | TRAVELERS INN AT CLEARWATER | S & D JALARAM LLC | 1488 GULF TO BAY BLVD , CLEARWATER 33755 | 1243517 | 12/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge outside the main office . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6201292 | 10876 | EBB TIDE APTS | COATES 1 INC | 621 BAY ESPLANADE , CLEARWATER BCH 33767 | 1243072 | 12/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room #9. Operator installed missing smoke detector. **Corrected On-Site** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203064 | 18293 | TRADEWINDS SANDPIPER BEACH RESORT | 6000 GULF BLVD. SP LLC | 6000 GULF BLVD , ST. PETE BEACH 33706 | 1243166 | 12/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Fl 131349,131350 expired 8/2/2024 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 12/01/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher next to room 133 in recharge zone - From follow-up inspection 2025-11-07: **Time Extended** - From follow-up inspection 2025-12-01: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 12/01/2025 | Routine - Lodging | Call Back - Complied | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Next to room 225, fire extinguisher missing from its location, evident by mounting screws and an outline of paint from where it once was located. - From follow-up inspection 2025-11-07: **Time Extended** - From follow-up inspection 2025-12-01: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904041 | 97755 | BELL LAKE FOREST | BELL FUND V LAKE FOREST LLC | 101 INTEGRA VILLAGE TRL , SANFORD 32771 | 1643216 | 12/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -"BLDG 2 TROUBLE" displayed on fire alarm panel in main office, operator states repairs are ongoing **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2001 | Lodging | 6501397 | 11536 | RENAISSANCE WORLD GOLF RESORT | ST AUGUSTINE LODGING ASSOCIATES LLC | 500 S LEGACY TRAIL , SAINT AUGUSTINE 32092 | 1188695 | 12/03/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher at room #431 is in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406505 | 11147 | DELAND HOTEL | I. CARE HOSPITALITY LLC | 442 E NEW YORK AVE. , DELAND 32724 | 1185189 | 12/05/2025 | Routine - Lodging | Warning Issued | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. Third level platform, . operator cleared pathway. **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406498 | 7324 | CASTAWAYS BEACH RESORT | CASTAWAYS BEACH RESORT CONDOMINIUM ASSOCIATION INC | 2043 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1185712 | 12/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401634 | 18380 | DAYS INN | STARR HOSPITALITY LLC | 1608 N US HWY 1 , ORMOND BEACH 32174 | 1245445 | 12/03/2025 | Complaint Full | Call Back - Extension given, pending | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. -smoke detector not installed in room 124. **Repeat Violation** - From follow-up inspection 2025-12-03: **Time Extended** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406503 | 7628 | RESIDENCE INN DAYTONA OCEANFRONT | AVISTA PROPERTIES II LLC | 3209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1186193 | 12/01/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -slave panel at front entrance - From follow-up inspection 2025-12-01: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401632 | 17446 | HOLIDAY INN RESORT DAYTONA BEACH OCEAN FRONT | HIR DB OPCP LLC | 1615 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1242137 | 12/01/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. - From follow-up inspection 2025-12-01: -both showing expired in state database for boiler safety **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406503 | 7628 | RESIDENCE INN DAYTONA OCEANFRONT | AVISTA PROPERTIES II LLC | 3209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1186193 | 12/01/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. -2 water heaters inside boiler room are 130 gallon capacity tanks. Provided boiler safety bulletin via email. - From follow-up inspection 2025-12-01: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.