## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Brevard | 2003 | Lodging | 1500661 | 79559 | OCEANSIDE PALMS | OCEANSIDE PALMS LLC | 321 JOHNSON STREET , CAPE CANAVERAL 32920 | 1634610 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. No breaker bar available for locked extinguisher boxes upstairs A and D, downstairs C **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505409 | 46226 | PARK AT PALM BAY (THE) | PARK AT PALM BAY LTD PTNSHP | 1200 HADLEY CIR SE , PALM BAY 32909 | 1638791 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Fire panel has trouble CT-1 127 water flow 26 sprinkler. Tamper switch malfunction, to be replaced on 26 December 2025. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619051 | 8184 | HOMETOWNE STUDIOS - FORT LAUDERDALE 3512 | CL OPCO LLC | 3031 W COMMERCIAL BLVD , FORT LAUDERDALE 33309 | 1186293 | 12/23/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619051 | 8184 | HOMETOWNE STUDIOS - FORT LAUDERDALE 3512 | CL OPCO LLC | 3031 W COMMERCIAL BLVD , FORT LAUDERDALE 33309 | 1186293 | 12/23/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. One not functioning | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620861 | 9600 | FOUR POINT BY SHERATON FORT LAUDERDALE AIRPORT-DANIA BEACH | B & JCM PROPERTIES LLC | 1900 STIRLING RD , DANIA BEACH 33004 | 1185227 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Room 107. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1617216 | 117574 | SABAL POINTE APARTMENTS | SABAL POINTE LLC | 12000 W SAMPLE RD , CORAL SPRINGS 33065 | 1629313 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. 1. Observed by unit 12006 building building 4 2. Observed by unit 11976 building 4 3. Observed at unit 11904 building 3 4. Observed at unit 11918 building 3 5. Observed at unit 11872 building 2 6. Observed at unit 11850 building 2 7. Observed at unit 11864 building 2 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1617084 | 49282 | LINDEN APTS 1-15 | LINDEN DEVELOPMENT CORP | 800 NW 7 ST , FORT LAUDERDALE 17305 | 1641657 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Bldg 800-1 Unit# 2. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1612548 | 9398 | MARRIOTT FORT LAUDERDALE NORTH | LR LAUDERDALE HOTEL LLC | 6650 N ANDREWS AVE , FORT LAUDERDALE 33309 | 1186172 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1600149 | 16376 | RICHARD'S HOTEL | CLAVET RICHARD | 1411 S FEDERAL HWY , HOLLYWOOD 33020 | 1242326 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. First Alert none operational. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1601708 | 17335 | GREEN SEAS MOTEL | BEDZ INVESTMENTS INC | 1419 S FEDERAL HWY , HOLLYWOOD 33020 | 1241653 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. First Alert at office not operational. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619243 | 3296 | TOWNE PLACE SUITES BY MARRIOTT | FT LAUDERDALE HOTEL CORP | 3100 PROSPECT RD , FORT LAUDERDALE 33309 | 1187758 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1618968 | 5616 | SPRINGHILL SUITES | STIRLING HOTEL DANIA BEACH LTD | 151 SW 18 CT , DANIA 33004 | 1185424 | 12/23/2025 | Routine - Lodging | Call Back - Complied | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hard wired hearing impaired smoke detector in room 721 , 421 , not functioning. - From follow-up inspection 2025-12-23: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1618968 | 5616 | SPRINGHILL SUITES | STIRLING HOTEL DANIA BEACH LTD | 151 SW 18 CT , DANIA 33004 | 1185424 | 12/23/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 055376 Expires 7-16-24, 055377 Expires 7-16-24, 055378 Expires 7-16-24 - From follow-up inspection 2025-12-23: | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1618968 | 5616 | SPRINGHILL SUITES | STIRLING HOTEL DANIA BEACH LTD | 151 SW 18 CT , DANIA 33004 | 1185424 | 12/22/2025 | Routine - Lodging | Administrative complaint recommended | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hard wired hearing impaired smoke detector in room 721 , 421 , not functioning. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1618968 | 5616 | SPRINGHILL SUITES | STIRLING HOTEL DANIA BEACH LTD | 151 SW 18 CT , DANIA 33004 | 1185424 | 12/22/2025 | Routine - Lodging | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 055376 Expires 7-16-24, 055377 Expires 7-16-24, 055378 Expires 7-16-24 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Citrus | 2003 | Lodging | 1900285 | 49819 | SIESTA APTS | SIESTA APTS | 440 NE 9 ST APT 5 , CRYSTAL RIVER 83646 | 1642448 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible in rear of building closest to dumpster area. Blocked by storage items. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Citrus | 2002 | Lodging | 1900058 | 16660 | BELL VILLA MOTEL | VEER REAL ESTATE INC | 3430 S SUNCOAST BLVD , HOMOSASSA 34448 | 1243771 | 12/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328950 | 16118 | EL PARAISO MOTEL | GLOBAL RESORTS GROUP CORP | 1615 W OKEECHOBEE RD , HIALEAH 33010 | 1244121 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed fire extinguisher locked between rooms 210 and 211 and throughout the property. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329211 | 6462 | MIAMI MANSION MOTEL | 611 OKEECHOBEE LLC | 611 E OKEECHOBEE RD , HIALEAH 33010 | 1187318 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed in front of parking lot. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328951 | 16237 | LA FUENTE MOTEL | 151 EAST OKEECHOBEE RD LLC | 151 E OKEECHOBEE RD , HIALEAH 33010 | 1244152 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed some fire extinguishers locked on the first floor in front of dumpster area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310696 | 54438 | PINTADO APARTMENTS | PINTADO ROBERTO & ELSA | 455 SW 27 AVE , MIAMI 52942 | 1634784 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. First and second floor. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308142 | 117056 | FAUSTINA M AND RICARDO PERNAS TRUST | FAUSTINA M AND RICARDO PERNAS TRUST | 839 SW 4 ST , MIAMI 33130 | 1635281 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher next to unit 2 at first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327558 | 3664 | LOEWS MIAMI BCH HOTEL | MB REDEVELOPMENT LLC | 1601 COLLINS AVE , MIAMI BEACH 33139 | 1186648 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329211 | 6462 | MIAMI MANSION MOTEL | 611 OKEECHOBEE LLC | 611 E OKEECHOBEE RD , HIALEAH 33010 | 1187318 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328951 | 16237 | LA FUENTE MOTEL | 151 EAST OKEECHOBEE RD LLC | 151 E OKEECHOBEE RD , HIALEAH 33010 | 1244152 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at front desk office. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2320590 | 9182 | A-1 BUDGET MOTEL | KPN INC | 30600 S DIXIE HWY , HOMESTEAD 05014 | 1243273 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Observed in room 15. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331060 | 115884 | AMERICAN INTERSTATE CORP | AMERICAN INTERSTATE CORP | 1830 MERIDIAN AVE , MIAMI BEACH 33139 | 1640418 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Unable to enter the building and verify was expired on last visit. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329493 | 10466 | HAMPTON INN & SUITES | HOTEL THREE LLC | 14060 SW 138TH AVE , MIAMI 33186 | 1186435 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed water boiler 499592, 499593, 499572, 499571, 499584 at establishment without certificate. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328948 | 19114 | MOTEL 6 CUTLER BAY | HARE KRISHNA CUTLER BAY LLC | 10775 CARIBBEAN BLVD , CUTLER BAY 33189 | 1245086 | 12/19/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble lights at the front desk. - From follow-up inspection 2025-12-19: Observed trouble lights at the front desk. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328948 | 19114 | MOTEL 6 CUTLER BAY | HARE KRISHNA CUTLER BAY LLC | 10775 CARIBBEAN BLVD , CUTLER BAY 33189 | 1245086 | 12/19/2025 | Complaint Full | Call Back - Extension given, pending | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed hearing impaired in room 319 no working. - From follow-up inspection 2025-12-19: Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed hearing impaired in room 319 no working. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329397 | 8837 | CANDLEWOOD SUITES MIAMI EXEC AIRPORT - KENDALL | ERG HOLDINGS INC | 13600 SW 139 CT , MIAMI 33186 | 1186432 | 12/22/2025 | Routine - Lodging | Call Back - Extension given, pending | 04-07-4 | - From initial inspection : Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. Observed alarm light not flashing in ADA room 108. - From follow-up inspection 2025-12-22: Observed trouble light illuminated at smoke detector panel. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328948 | 19114 | MOTEL 6 CUTLER BAY | HARE KRISHNA CUTLER BAY LLC | 10775 CARIBBEAN BLVD , CUTLER BAY 33189 | 1245086 | 12/22/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble lights at the front desk. - From follow-up inspection 2025-12-19: Observed trouble lights at the front desk. **Time Extended** - From follow-up inspection 2025-12-22: Observed trouble lights at the front desk. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2003 | Lodging | 2702962 | 115229 | AHPC CRESTVIEW AT CORDOVA 2021 LLC | CRESTVIEW AT CORDOVA | 3500 CREIGHTON RD , PENSACOLA 32504 | 1633134 | 12/23/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Many buildings on property with wires hanging and running along ground. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2003 | Lodging | 5104085 | 102844 | CHAMPIONS WALK APARTMENTS | MERION CHAMPIONS WALK LP | 4148 53 AVE W , BRADENTON 34210 | 1642188 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed missing hammers at fire extinguisher boxes on multiple buildings and garages. Operator stated that they are in the process of replacing all missing hammers. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5201252 | 3955 | OCALA HILTON | MJ OCALA HOTEL ASSOC LTD | 3600 SW 36 AVE , OCALA 44474 | 1187227 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate expired on 9/02/2023.pic advised that hotel needed to perform some maintenance o the boiler which has been completed, and are scheduled for an inspection in January 2026 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Martin | 2001 | Lodging | 5300993 | 6207 | PIRATE'S COVE RESORT & MARINA | PAPA SIERRA LLLP | 4307 SE BAYVIEW ST , STUART 34997 | 1187298 | 12/22/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. No boiler certificate available due to carbon monoxide installation requirement by the city. Establishment is awaiting parts for installation. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400560 | 18787 | CREEKSIDE INN ISLAMORADA | LAH CREEKSIDE OPCO LLC | 90611 OLD HIGHWAY , TAVERNIER 33070 | 1244178 | 12/23/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. In the laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900682 | 15281 | SUPER 8 MOTEL MAINGATE | RAMBHAI KISHORKUMAR V | 5875 W IRLO BRONSON HWY , KISSIMMEE 34746 | 1245777 | 12/19/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 2023 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6801097 | 93423 | CITADEL APARTMENTS OF SARASOTA LLC | CITADEL APARTMENTS OF SARASOTA LLC | 2023 & 2045 HYDE PARK ST , SARASOTA 34239 | 1640022 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed fire extinguisher missing from location by unit 7 storage closet first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804704 | 8479 | HOLIDAY INN EXPRESS & SUITES SARASOTA EAST/I-75 | ONE FL SARASOTA HIE MANAGEMENT LLC | 5730 GANTT RD , SARASOTA 34233 | 1186715 | 12/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6902104 | 18820 | RESIDENCE INN ALTAMONTE | GRAND PRIX FIXED LESSEE LLC | 270 DOUGLAS AVE , ALTAMONTE SPRINGSF 32714 | 1242768 | 12/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406506 | 15589 | ATLANTIC ECONOMY INN | NP RAJ INC | 808 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1241923 | 12/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -non functional smoke detector inside unit 102, failed to test | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405603 | 18382 | SLEEP INN ORMOND BEACH | SOUTHERN SIX HOSPITALITY LLC | 170 WILLIAMSON BOULEVARD , ORMOND BEACH 32174 | 1245075 | 12/22/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-12-22: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406588 | 102389 | 411-413 NORTH OLEANDER AVENUE LLC | 411-413 NORTH OLEANDER AVENUE LLC | 411 413 N OLEANDER AVE , DAYTONA BEACH 32118 | 1629678 | 12/22/2025 | Routine - Lodging | Administrative complaint recommended | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. -break panel box on wall missing breaking device, near unit 2 & unit 5 **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406670 | 117661 | MKS REAL ESTATE INVESTEMENT LLC | MKS REAL ESTATE INVESTEMENT LLC | 716 HARVEY AVE , DAYTONA BEACH 32118 | 1625557 | 12/22/2025 | Routine - Lodging | Administrative complaint recommended | 06-01-4 | Path to fire escape/exit is blocked. For reporting purposes only. -closed gate obstructing access from top floor unit above unit 1 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.