## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2002 | Lodging | 1300392 | 14548 | EL PINE MOTEL | HARI OM SHANTI CORP | 8901 FRONT BEACH RD , PANAMA CITY BEACH 32407 | 1242170 | 10/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside room 6. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2001 | Lodging | 1305252 | 10479 | HOMEWOOD SUITES BY HILTON | ST JOE RESORT OPERATIONS, LLC | 47 CHIP SEAL PKWY , PANAMA CITY BEACH 32407 | 1184527 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed water heaters with max input BTU of 751,000. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1504985 | 3171 | HAMPTON INN | OCEAN PARTNERS ASSOC LTD | 3425 N ATLANTIC AVE , COCOA BCH 32931 | 1184942 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1618774 | 19120 | STUDIO 6 CORAL SPRINGS | HARE KRISHNA CORAL SPRINGS LLC | 5645 N UNIVERSITY DR , CORAL SPRINGS 33067 | 1243193 | 10/07/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-10-07: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1618774 | 19120 | STUDIO 6 CORAL SPRINGS | HARE KRISHNA CORAL SPRINGS LLC | 5645 N UNIVERSITY DR , CORAL SPRINGS 33067 | 1243193 | 10/07/2025 | Routine - Lodging | Call Back - Complied | 08-04-4 | - From initial inspection : Boiler certificate not posted in the boiler room. For reporting purposes only. - From follow-up inspection 2025-10-07: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619392 | 10928 | COURTYARD BY MARRIOTT CORAL SPRINGS | CORAL SPRINGS HOSPITALITY LLC | 620 N. UNIVERSITY DRIVE , CORAL SPRINGS 33071 | 1185795 | 10/07/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. 2nd Floor next to room 205 - From follow-up inspection 2025-10-07: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Citrus | 2001 | Lodging | 1901156 | 7345 | HAMPTON INN CRYSTAL RIVER FL | MLD 3 LLC | 1103 N SUNCOAST BLVD , CRYSTAL RIVER 95483 | 1184404 | 10/07/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-10-07: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2101012 | 3342 | MARCO ISLAND HILTON BEACH RESORT & SPA | MARCO BEACH HOTEL INCORPORATED | 560 S COLLIER BLVD , MARCO ISLAND 34145 | 1185620 | 10/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. All boiler certificates are expired as of 7/11/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2319611 | 16141 | MIAMI SPRINGS INN | TOTO HOSPITALITY LLC | 4585 NW 36 ST , MIAMI SPRINGS 33166 | 1241822 | 10/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed extinguisher missing braking device located by Room 204. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2322309 | 55677 | DELGADO APARTMENTS IX | DELGADO INVESTMENT LTD | 1275 W 36 ST , HIALEAH 24896 | 1640480 | 10/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher locked in a box with no device to break enclosure, located on first floor end of hallway. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302187 | 118830 | 223 ANTILLA AVE LLC | 223 ANTILLA AVE LLC | 223 ANTILLA AVE , CORAL GABLES 33134 | 1637915 | 10/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at laundry room enclosed fire extinguisher not hammer to break the glass. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2301703 | 3379 | ISLAND HOUSE | SHINDLER RICHARD | 1428 COLLINS AVE , MIAMI BEACH 94102 | 1184087 | 10/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2306103 | 3499 | SEA VIEW HOTEL (THE) | SEA VIEW HOTEL INC | 9909 COLLINS AVE , MIAMI BEACH 41808 | 1186005 | 10/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329297 | 7739 | MIAMI BEACH EDITION HOTEL | EDITION MANAGEMENT LLC | 2901 COLLINS AVE , MIAMI BEACH 33140 | 1183935 | 10/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed in the panel located at the lobby. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329332 | 8125 | NOVOTEL HOTELS & RESORTS | ATTON HOTELS MIAMI LLC | 1500 SW 1 AVE , MIAMI 33129 | 1185103 | 10/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327515 | 8803 | EXTENDED STAY AMERICA | ESA P PORTFOLIO OPERATING LESSEE LLC | 6605 NW 7 ST , MIAMI 33126 | 1183917 | 10/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329401 | 9112 | UPTOWN SUITES - HOMESTEAD | ITS HOMESTEAD LP | 1071 NE 28 AVE , HOMESTEAD 33033 | 1185033 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330177 | 103213 | 441 LOT INVESTMENTS LLC | 441 LOT INVESTMENTS LLC | 529 NE 62 ST , MIAMI 33138 | 1643319 | 10/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed alarm panel next to elevator trouble light flashing | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330526 | 106541 | RESERVE AT THE PLAZA | SEVILLA RESIDENCES LLC | 122 SEVILLA AVE , CORAL GABLES 33134 | 1643721 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at main panel at lobby entrance. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330893 | 113161 | 690 NE 133RD ST LLC | 690 NE 133RD ST LLC | 690 NE 133 ST , NORTH MIAMI 33161 | 1640317 | 10/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329438 | 8222 | TOWNEPLACE SUITES BY MARRIOTT | HOMESTEAD HOLDINGS II LLC | 935 NE 30 TER , HOMESTEAD 33033 | 1185107 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boilers FL 132462 expired on 06/06/2025 FL 132463 expired on 06/06/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329367 | 10349 | AC HOTEL MIAMI AVENTURA | PDOF AVENTURA 20805 LLC | 20805 BISCAYNE BLVD , AVENTURA 33180 | 1185902 | 10/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329486 | 10337 | ESMÈ MIAMI BEACH | INFINITY ESPANOLA HOTEL VENTURE LLC | 1434-1438 WASHINGTON AVE , MIAMI BEACH 33139 | 1185813 | 10/07/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-10-07: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2603754 | 119859 | STONEMONT VILLAGE | STONEMONT NCM LLC | 2931 STONEMONT ST , JACKSONVILLE 32207 | 1645520 | 10/09/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Breaking device on fire extinguisher is gone in laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2610382 | 18817 | QUALITY INN JACKSONVILLE SOUTHSIDE | BWJ INVESTMENT GROUP LLC | 4580 COLLINS RD , JACKSONVILLE 32244 | 1241652 | 10/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable fire extinguisher in laundry room in red recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2612235 | 17279 | RED ROOF INN #10251 | BW RRI IV LLC | 6969 LENOIR AVE E , JACKSONVILLE 32216 | 1243463 | 10/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Operator have old boiler report posted but report is current online. Provided operator with copy of both online current boiler report to post **Corrected On-Site** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100229 | 17094 | PRESTIGE HOTEL VERO BEACH | PRESTIGE HOTEL VERO BEACH LLC | 1526 OCEAN DR , VERO BEACH 32963 | 1243823 | 10/09/2025 | Routine - Lodging | Warning Issued | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Gas tank stored under exterior stair well closest to lobby | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2003 | Lodging | 4101361 | 116927 | HERON POINT INDEPENDENT LIVING OF VERO BEACH | 910 REGENCY SQUARE TENANT LLC | 910 REGENCY SQUARE , VERO BEACH 32967 | 1636479 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2002 | Lodging | 5200203 | 17858 | DAYS INN OCALA NORTH SPACE COAST HOSPITALITY LLC | SPACE COAST HOSPITALITY LLC | 3811 NW BLITCHON RD , OCALA 34482 | 1241812 | 10/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher between rooms 102 and 103. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811200 | 10016 | HOMEWOOD SUITE BY HILTON FLAMINGO CROSSINGS | ORLANDO HOTEL GROUP LLC | 411 FLAGLER AVE , WINTER GARDEN 34787 | 1185272 | 10/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificates or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912072 | 11473 | HOLIDAY INN RESORT KISSIMMEE BY THE PARKS | HH MAINGATE HOTELS LLC | 3011 MAINGATE LN , KISSIMMEE 34747 | 1184721 | 10/06/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900879 | 10445 | DELTA ORLANDO CELEBRATION RESORT | DGO HOTEL OWNER LLC | 2900 PARKWAY BLVD , KISSIMMEE 34747 | 1185738 | 10/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 1 of 2 boilers expired. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6002504 | 16594 | SILVER PALM LODGE | INDENPENDENT HOTELS, LLC | 7211 S DIXIE HWY , WEST PALM BEACH 33405 | 1242934 | 10/08/2025 | Routine - Lodging | Call Back - Complied | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. - From follow-up inspection 2025-10-08: Hearing impaired smoke detector on order. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216231 | 111821 | SATOSHI HIDEOUT | SATOSHI MANAGEMENT COMPANY, LLC | 425 2 ST N , ST. PETERSBURG 33701 | 1645364 | 10/09/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in Bette unit 3 and 4. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6207364 | 11156 | CRYSTAL INN | DHRUV LLC | 4600 S 34 ST , ST PETERSBURG 33711 | 1242516 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in the upstairs electrical room in the recharge room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904056 | 119848 | WALTON | KV VERA SANFORD APARTMENTS, LLC | 4856 VERACITY POINT , SANFORD 32771 | 1645517 | 10/10/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 02-04-4 | Gas powered equipment stored inside maintenance shop, maintenance staff removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903999 | 10077 | EXTENDED STAY AMERICA #9513 | ESA P PORTFOLIO OPERATING LESSEE LLC | 1437 RINEHART RD , SANFORD 32771 | 1184432 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -boiler certificates expired 2/21/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1242175 | 10/07/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406527 | 19653 | SOUTH SHORE MOTEL | 3225 DAYTONA OCEAN INVESTMENT LLC | 3225 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1244306 | 10/09/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -on wall inside box next to 104 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406788 | 119839 | BRADDOCK 624 LLC | BRADDOCK 624 LLC | 624 BRADDOCK AVE , DAYTONA BEACH 32118 | 1645515 | 10/09/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406527 | 19653 | SOUTH SHORE MOTEL | 3225 DAYTONA OCEAN INVESTMENT LLC | 3225 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1244306 | 10/09/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. -stairwell downstairs across from 203 not currently accessible | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406511 | 17297 | TROPIC AIRE MOTEL | MCAULEY MIKE | 1000 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1241925 | 10/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -next to 202 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406511 | 17297 | TROPIC AIRE MOTEL | MCAULEY MIKE | 1000 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1241925 | 10/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell/platform. For reporting purposes only. -in front of unit between 107-105 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406518 | 10032 | COMFORT INN AND SUITES | BLUE DAYTONA ONE LLC | 103 S OCEAN AVE , DAYTONA BEACH 32118 | 1185407 | 10/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406511 | 17297 | TROPIC AIRE MOTEL | MCAULEY MIKE | 1000 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1241925 | 10/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to fire escape exit is blocked/obstructed. For reporting purposes only. -blocked/partially obstructed by chairs at access to stairway near 205 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406519 | 18035 | BAYMONT INN & SUITES | KESHAV HOSPITALITY LLC | 175 INTERCHANGE BLVD , ORMOND BEACH 32174 | 1243768 | 10/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlets missing cover plates in second floor hallway. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.